- UTHSC Laboratory Self-Inspection Checklist

Building:_____________________        Room #(s)____________________               Date:_____________________

Principal Investigator:			Department:

Person completing this form:			Title:		_____

| 1. |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. Have all lab personnel received applicable training in: |  |  |  |  |
|  Yes | No |  N/A | Laboratory Safety and Chemical Hygiene |  |
|  Yes | No |  N/A | Laboratory Safety Refresher |  |
|  Yes | No |  N/A | Principles of Biosafety (BSL2) |  |
|  Yes | No |  N/A | Bloodborne Pathogen |  |
|  Yes | No |  N/A | Biological Safety Cabinet |  |
|  Yes | No |  N/A | Radiation Safety |  |
|  Yes | No |  N/A | Shipping of Hazardous Materials |  |
|  Yes | No |  N/A | Handling Controlled Substances In Research Labs |  |
| 2. Manuals |  |  | Right-to-Know / Laboratory Standard |  |
|  Yes | No |  N/A | 1. Is a copy of the Chemical Hygiene Plan available? |  |
|  Yes | No |  N/A | 2. Is a copy of the Hazardous Material Spill Plan available? |  |
|  Yes | No |  N/A | 3. Is the chemical inventory current on EHS Database? |  |
|  Yes | No |  N/A | 4. Are Safety Data Sheets readily available for hazardous chemicals in the lab or via online? |  |
|  Yes | No |  N/A | 5. Are copies of the Laboratory-specific safety procedures available for handling highly hazardous chemicals? |  |
|  Yes | No |  N/A | 6. Is a copy of the UT Emergency Response Plan available? |  |
|  Yes | No |  N/A | 7. Are Emergency phone numbers clearly posted? |  |
|  Yes | No |  N/A | 8. Is a copy of the UT Control Substances Policy available? |  |
|  Yes | No |  N/A | 9. Are lab personnel familiar with the location/contents of all safety manuals, chemical inventory, SDS and related reference material? |  |
| 3. |  |  | Bloodborne Pathogens |  |
|  Yes | No |  N/A | 1. Are human materials (blood, tissue or cell lines) used? |  |
|  Yes | No |  N/A | 2. Are Standard Precautions (formerly Universal Precautions) implemented for all working with BBP materials? |  |
|  Yes | No |  N/A | 3. Is the UT Exposure Control Plan available? |  |
|  Yes | No |  N/A | 4. Are personnel enrolled in the Occupational Health Program? |  |
|  Yes | No |  N/A | 5. Have researchers received Hep. B vaccination or signed Appendix D? |  |
| 4. |  |  | Personal Protective Equipment |  |
|  Yes | No |  N/A | 1. Is PPE easily accessible and worn when/where appropriate? |  |
| What type of PPE is used and present in the lab? □ Lab coats/gowns □ Disposable gloves □ Others: _____________ □ Goggles with side/temple shields □ Utility gloves □ Respiratory Protection □ Safety glasses □ Hearing protection Type:____ _______________ □ Face shields □ Booties or shoe covers |  |  |  |  |
|  Yes | No |  N/A | 2. Is the PPE (gloves, lab coats, eye protection, respiratory protection etc.) available, the appropriate type and worn? |  |
|  Yes | No |  N/A | 3. If a respirator is required, have personnel been medically cleared, trained and fit tested? |  |
|  Yes | No |  N/A | 4. Do you have Flame Retardant lab coats and gloves if working with air reactive, pyrophoric, or water-reactive chemicals? |  |
|  Yes | No |  N/A | 5. Is PPE removed before entering non-research areas? |  |
|  Yes | No |  N/A | 6. Are researchers familiar with the decontamination procedures for lab coats that are biologically or chemically contaminated? |  |
| 5. |  |  | Safety Equipment |  |
|  Yes | No |  N/A | 1. Have safety showers been inspected in the last 12-months? |  |
|  Yes | No |  N/A | 2. Are eyewash stations completely unobstructed, in working condition and inspected on a weekly basis? |  |
|  Yes | No |  | 3. Are eyewashes in the lab being flushed weekly and documented? |  |
|  Yes | No |  | 4. Are there appropriate caps on the eyewash? |  |
|  Yes | No |  N/A | 5. Is there a sink for hand-washing with soap and paper towels? |  |
|  Yes | No |  N/A | 6. Are hands washed at the end of experiments, when gloves are removed, and prior to leaving the lab? |  |
|  Yes | No |  N/A | 7. Are potentially infectious materials centrifuged using safety containment cups or sealed rotors with O-rings? |  |
|  Yes | No |  N/A | 8. Are mechanical pipettes used? No mouth pipetting |  |
| 6. |  |  | Fume Hood |  |
|  Yes | No |  N/A | 1. Is a fume hood available & inspected within the last 12 months? |  |
|  Yes | No |  N/A | 2. Is the correct sash height indicated and used? |  |
|  Yes | No |  N/A | 4. Fume hoods equipped with air flow indicator? |  |
|  Yes | No |  N/A | 5. Is the fume hood used for storage? Note: hood is not meant to store items as permanent storage |  |
|  Yes | No |  N/A | 6. Is the fume hood free of clutter? |  |
|  Yes | No |  N/A | 7. Are fume hoods used for handling volatile hazardous chemicals and toxins? |  |
|  Yes | No |  N/A | 8. Fume hood labeled “Not for Perchloric Acid”? |  |
| 7. |  |  | Biological Safety Cabinets (BSC) |  |
|  Yes | No |  N/A | 1. Is a BSC available & certified within the last year? |  |
|  Yes | No |  N/A | 2. Are the interior work areas and grills free from clutter? |  |
|  Yes | No |  N/A | 3. Are the interior work surfaces clean? |  |
|  Yes | No |  N/A | 4. Are disinfection procedures used before & after use? |  |

| 8. |  |  | Chemicals |  |
| --- | --- | --- | --- | --- |
|  Yes | No |  N/A | 1. Are all chemical containers capped and sealed except when actively adding or removing materials (no open funnels left sticking out the top of containers)? |  |
|  Yes | No |  N/A | 2. Are containers segregated by hazard class? [Flammables away from oxidizers, acids separate from bases, etc. ? |  |
|  Yes | No |  N/A | 3. Are flammable liquids stored in OSHA/NFPA approved cabinets if there are more than 10 gal.? |  |
|  Yes | No |  N/A | 4. Are corrosives stored in an appropriate location? |  |
|  Yes | No |  N/A | 5. If flammable chemicals must be refrigerated, are the refrigerators the approved type (non-sparking)? |  |
|  Yes | No |  N/A | 6. Are chemical containers in good condition (labels intact, metal cans free from rust, etc.) |  |
|  Yes | No |  N/A | 7. If peroxide forming chemicals are present, are peroxide test strips available in the lab? |  |
|  Yes | No |  N/A | 8. If peroxide forming chemicals are present, do they have the “Peroxide Forming” label attached to each container? |  |
| 9. |  |  | Control Substances |  |
|  Yes | No |  N/A | 1. Are controlled substances used in the lab (barbital, THC, Opium’s)? |  |
|  Yes | No |  N/A | 2. Is the DEA Registration and TN Board of Pharmacy license current? Record expiration date: |  |
|  Yes | No |  N/A | 3. Are the controlled substances securely stored? (e.g. a safe or lockable cabinet) |  |
|  Yes | No |  N/A | 4. Is access to controlled substances limited only to Authorized Users? Is there a list of Authorized Users? |  |
|  Yes | No |  N/A | 5. Have Authorized Users completed the Screening Statement? |  |
|  Yes | No |  N/A | 6. Does the registrant or Authorized User know how to report lost, stolen or missing controlled substances? |  |
|  Yes | No |  N/A | 7. Is an inventory of controlled substances maintained (Initial and at least every 2 years)? |  |
|  Yes | No |  N/A | 8. Is a log form maintained for each container of controlled substances in a manner that accounts for the total volume of material in that container? |  |
|  Yes | No |  N/A | 9. Have expired controlled substances been properly disposed of with an accompanying DEA Form 41 completed for the disposal? |  |
| 10. |  |  | Compressed Gases |  |
|  Yes | No |  N/A | 1. Are compressed gas cylinders in good condition, clearly marked, stored upright and secured at all times to a structural component of the building or cart by strap or chain? |  |
|  Yes | No |  N/A | 2. Are protective caps in place while gas cylinders not in use? |  |
| 11. |  |  | Chemical Hazardous Waste |  |
|  Yes | No |  | 1. Is chemical waste generated? |  |
|  Yes | No |  N/A | 2. Is the chemical waste properly labeled? |  |
|  Yes | No |  N/A | 3. Are waste containers closed, in good condition, clean and compatible with the chemical? |  |
| 12. |  |  | Biohazard Materials and Waste Handling / Disposal |  |
|  Yes | No |  N/A | 1. Is reusable glassware used with biological materials decontaminated with bleach prior to washing? |  |
|  Yes | No |  N/A | 2. Is waste properly segregated? E.g. Sharps to sharps cont. |  |
|  Yes | No |  N/A | 3. Are all bio-waste containers durable, leak-proof, labeled with a biohazard symbol, and lined with 2 bags? |  |
|  Yes | No |  N/A | 4. Are biological waste containers (including bench-top containers) and sharps containers closed or covered when not in use? |  |
|  Yes | No |  N/A | 5. Are biological waste containers and sharps containers disposed of when they are ¾ full? |  |
|  Yes | No |  N/A | 6. Are sharps disposed of into leak-proof and puncture resistant containers that do not allow for the removal of deposited sharps? |  |
|  Yes | No |  N/A | 7. Is liquid bio-waste decontaminated with bleach prior to sink disposal? |  |
| 13. |  |  | Disinfection and Spill Management Procedures |  |
|  Yes | No |  N/A | 1. Are all lab surfaces cleaned regularly? Type(s) of cleaner /disinfectants: ratio/percent: _________________________ __________ _________________________ __________ |  |
|  Yes  Yes  Yes | No No No |  N/A  N/A  N/A | 2. Are spill procedures prominently posted? Biological Chemical Radiological |  |
|  Yes  Yes  Yes | No No No |  N/A  N/A  N/A | 3. Are spill kits readily available / stocked? Biological Chemical Radiological |  |
|  Yes | No |  N/A | 4. Are personnel familiar w/spill &decontamination procedures? |  |
| 14. |  |  | General Safety Conditions / Practices |  |
|  Yes | No |  N/A | 1. Has the consumption and storage of food / drink / medication and the application of make-up / contact lenses within the lab been forbidden? |  |
|  Yes | No |  N/A | 2. Do personnel wear closed-toed shoes while working in the lab? |  |
|  Yes | No |  N/A | 3. Do personnel wear full-length trousers or shorts/skirts below the knees to protect legs? Is long hair confined; is jewelry that can inhibit PPE removed? |  |
|  Yes | No |  N/A | 4. Are first aid materials/kits readily available and stocked with adequate supplies? |  |
|  Yes | No |  N/A | 5. Are aisles maintained at least 36” wide throughout? |  |
|  Yes | No |  N/A | 6. Shelves and cabinets in good condition? Shelves and cabinets secured to walls? |  |
|  Yes | No |  N/A | 7. Are cloth chairs in the research areas of the lab? Are they covered? |  |
|  Yes | No |  N/A | 8. Are sharps handled and stored safely? (not on benches) |  |
|  Yes | No |  N/A | 9. Are work surface covers/ bench paper discarded when dirtied/contaminated? |  |
|  Yes | No |  N/A | 10. If aspiration flasks are located on the floor, are they in secondary containers? Are large chemicals bottles stored on the floor in a safe and secure manner? |  |
|  Yes | No |  N/A | 11. Are in-line hydrophobic filters attached for use with the in-house vacuum system? |  |
|  Yes | No |  N/A | 12. Is a fire extinguisher readily available and visually inspected within the last month? |  |
|  Yes | No |  N/A | 13. Is the location of the nearest appropriate fire extinguisher known by all personnel in the lab? |  |
|  Yes | No |  N/A | 14. Are sprinklers present? |  |
|  Yes | No |  N/A | 15. Are power strips used correctly? No doubling up |  |
|  Yes | No |  N/A | 16. Are electrical breaker panels blocked? |  |
|  Yes | No |  | 17. Do you store material in a cold or warm room? Is cardboard or flammable liquid present? |  |
| 15. |  |  | Hazard Labeling |  |
|  Yes | No |  N/A | 1. Are the lab door signs correct / current? 1) Emergency and Information Placard 2) BSL2 signage |  |
|  Yes | No |  N/A | 2. Is the biohazard symbol on appropriate equipment & waste used to process, handle or store BSL2 material? |  |
|  Yes | No |  N/A | 3. Are all chemical containers labeled w/ their content and GHS label? |  |
|  Yes | No |  N/A | 4. Are laboratory freezers / microwaves labeled “Not for Storage of Food for Human Consumption (no food)”? |  |
|  Yes | No |  N/A | 5. Is the ice machine labeled “Ice not for human consumption”? |  |
| 16. |  |  | Radioactive Isotopes, Chemical & Laser Laboratories |  |
|  Yes | No |  N/A | 1. Radioactive door placard on each lab door that has radioactive isotopes or chemicals stored and or handled? |  |
|  Yes | No |  N/A | 2. Radioactive isotopes are properly secured (locked up) when not used? |  |
|  Yes | No |  N/A | 3.The lab door(s) are kept closed and locked when not occupied? |  |
|  Yes | No |  N/A | 4. Radioactive equipment is properly labeled? |  |
|  Yes | No |  N/A | 5. Radioactive waste is properly labeled (isotope, and quantity)? |  |
|  Yes | No |  N/A | 6. Are the “Notice To Employees” and “Pregnant Workers” signage posted for labs working with radioactive materials? |  |
|  Yes | No |  N/A | 7. Is a Giger counter present and calibrated for working with P32 & I125? Or tagged out by Radiation Office if not using? |  |
|  Yes | No |  N/A | 8. Is the radioactive usage card readily available and current (Yellow card)? |  |
|  Yes | No |  N/A | 9. Are dosimeter bags worn by each researcher at all times in labs working with P32 and I125? |  |
|  Yes | No |  N/A | 10. Are lab doors with lasers properly labeled? |  |